## Slide 1
Coordinator:
Abdullahi Hassan 201503121
Ali Thabet
201503122
Hassan Mohamed 201503123
Engr. Mohd Nayeemuddin
Dr. Tahar Ayadat
Advisors:
Design of 11-Story Building Using RCC & CLT
Dr. Andi Asiz
Student Names & ID’s
Learning Outcome Assessment III \ Final 05/25/2021
1

## Slide 2
Project Description
3
Objectives
2
Cost Estimation
6
Design Constraints
7
Outline
References
8
Structural Design
4
Geotechnical Design
5
Background
1
Learning Outcome Assessment III \ Final 05/25/2021
2

## Slide 3
Project description
5 story apartment
purpose
Residential Building
location
Mogadishu
Background
Project reference:
Learning Outcome Assessment III \ Final 05/25/2021
3

## Slide 4
Location
Purpose
Project Description
01
02
03
Actual Project
11-Story Building Using RCC & CLT
Residential and Commercial Building
Al Rakah, Khobar KSA
Learning Outcome Assessment III \ Final 05/25/2021
4

## Slide 5
Structural Design
Geotechnical Design
Structural Modelling
Cost Estimation
Objectives
Learning Outcome Assessment III \ Final 05/25/2021
5

## Slide 6
Layout
Location
Project Description
Figure 1.1
Learning Outcome Assessment III \ Final 05/25/2021
6

## Slide 7
Location
Learning Outcome Assessment III \ Final 05/25/2021
7

## Slide 8
Figure 1.2
Resource: Eng Abdulmajeed (2018)
Original Layout
Learning Outcome Assessment III \ Final 05/25/2021
8
North Side

## Slide 9
Figure 1.3
Figure 1.4
Edited Layout
Learning Outcome Assessment III \ Final 05/25/2021
9
North Side
North Side

## Slide 10
Figure 1.6
Figure 1.5
Learning Outcome Assessment III \ Final 05/25/2021
10
North Side

## Slide 11
Story | Function
Basement floor (2) | parking
Ground floor | Reception & Offices
to | Commercial
to | Residential
Story | Function
Basement floor (2) | parking
Ground floor | Reception & Offices
 | Commercial
 | Residential
Table 1.0
Learning Outcome Assessment III \ Final 05/25/2021
11

## Slide 12
Methodology
Structural Loads
Concrete Structural
Element & CLT Design
Structure Break down
ETABS Modeling
DIGITAL MARKETING
Structural
Design
Learning Outcome Assessment III \ Final 05/25/2021
12

## Slide 13
Layout Drawing
B
Saudi Building Code
C
Hand Calculation
D
ETABS
E
Geotechnical Design
F
Cost Estimation
Methodology
A
Learning Outcome Assessment III \ Final 05/25/2021
13

## Slide 14
Load combinations
Live loads
Dead loads
Earthquake (x,y)
Wind loads (x,y)
Types of loads on the structure
Figure 1.7
Resource: CIVIL READ Copyright © 2021.
Learning Outcome Assessment III \ Final 05/25/2021
14

## Slide 15
Name | Density (kN/m3) | Thickness (mm) | Load (kN/m2)
Mortar | 20.5 | 26 | 0.54
Ceramic tile | 23.5 | 12 | 0.26
Plaster | 13.9 | 18 | 0.25
Mechanical Duct allowance | --- | --- | 0.2
Suspended Metal lath and Cement Plaster | --- | -- | 0.75
Total | --- | --- | 2.0
Table 1.2
Finishing dead loads
Retrieved from ACI, SBC and Rak for tiles the book Ceramics 2020
Total dead loads on the floors = 2.0 KN/m2
Learning Outcome Assessment III \ Final 05/25/2021
15

## Slide 16
Structure | Dead Load | Live Load
Parking | 2 | 10
Commercial | 2 | 5
Residential | 2 | 2
Structure |  | 
Parking | 2 | 10
Commercial | 2 | 5
Residential | 2 | 2
Structural Dead Loads & live Loads From SBC:301
Equation: Factored Load Combination
Structural loading
Retrieved from SBC:301
Table 1.3
Learning Outcome Assessment III \ Final 05/25/2021
16

## Slide 17
Seismic load (X,Y) Eastern province KSA
R = 6.5 Omega =3
Site class D
I = 1.25
Cd =5.5
Seismic load (X,Y) Eastern province KSA
R = 6.5 Omega =3
Site class D
I = 1.25
Cd =5.5
Retrieved from Saudi Building Code
Seismic load
Figure 1.9
Learning Outcome Assessment III \ Final 05/25/2021
17

## Slide 18
Wind load (X,Y) Eastern province KSA
Wind speed = 94.448 mph
Exposure type = C
Gust Factor =0.85
Directionality Factor, Kd = 0.85
Wind load (X,Y) Eastern province KSA
Wind speed = 94.448 mph
Exposure type = C
Gust Factor =0.85
Directionality Factor, Kd = 0.85
Retrieved from Saudi Building Code
Wind load
Figure 2.0
Learning Outcome Assessment III \ Final 05/25/2021
18

## Slide 19
Type | Combination
Dead and Live Load | 1.2(DL) + 1.6(LL)
DL and W x | 0.9(DL) + 1.6(WLX)
DL and Wy | 0.9(DL) + 1.6(WLy)
DL and Ex | 1(DL) + 1(Ex)
DL and Ey | 1(DL) + 1(Ey)
Retrieved from ASCE & SBC
Load Combinations
Table 1.4
Learning Outcome Assessment III \ Final 05/25/2021
19

## Slide 20
01
Slab
02
Beams
03
Columns
04
Shear Walls
Resource: Megastar Technical & Construction Company Ltd 2020.
Structural Design of the building
Figure 1.8
Learning Outcome Assessment III \ Final 05/25/2021
20

## Slide 21
RCC & CLT Slab Design
Critical Slab 1
Critical Slab 1
7 m
7 m
Figure 1.9
Figure 2.2
Learning Outcome Assessment III \ Final 05/25/2021
21

## Slide 22
RCC & CLT Slab Design
7 m
7 m
Retrieved From ACI
7m
7m
250mm
Figure 2.0
Figure 2.1
Learning Outcome Assessment III \ Final 05/25/2021
22

## Slide 23
=
=
RCC & CLT Beam Design
Retrieved From ACI
Ast
h=450mm
d = 380mm
b= 260mm
Ast’
Height of the beam = 18 in = 450 mm
Depth of the beam = 15 in = 380 mm
Width of the beam = 10 in = 260 mm
7m
Figure 2.2
Learning Outcome Assessment III \ Final 05/25/2021
23

## Slide 24
Column Location
Figure 2.3
D-3
A-1
F-5
Learning Outcome Assessment III \ Final 05/25/2021
24

## Slide 25
=Axial load acting on the element (in kN or kips).
Safety factor for a rectangular element ≈ 0.65 (unitless)
Safety factor for a rectangular column ≈ 0.80 (unitless)
Compressive strength of the concrete (using 28 MPa)
ield strength of the concrete (using 240 MPa)
Gross area of the concrete element.
rea of steel required
Retrieved From :Civil planets (2020)
Retrieved From ACI
RCC & CLT Column Design
Figure 2.4
Learning Outcome Assessment III \ Final 05/25/2021
25
3.5m
3.5m
3.5m
3.5m

## Slide 26
Interior
RCC Column | Cross section (mm)
11th Story | 250X250
10th Story | 355X355
9th Story | 435X435
8th Story | 485X485
7th Story | 540X540
6th Story | 580X580
5th Story | 635X635
4th Story | 660X660
3th Story | 740X740
2th Story | 890X890
1th Story | 1150X1150
CLT Column | Cross section (mm)
11th Story | 210X210
10th Story | 310X310
9th Story | 380X380
8th Story | 430X430
7th Story | 480X480
6th Story | 540X540
5th Story | 585X585
4th Story | 610X610
3th Story | 685X685
2th Story | 840X840
1th Story | 1100X1100
RCC & CLT Column Design
Table 1.6
Table 1.5
Learning Outcome Assessment III \ Final 05/25/2021
26
3.5m
3.5m
3.5m
3.5m
Figure 2.5

## Slide 27
Exterior
RCC Column | Cross section (mm)
11th Story | 225X225
10th Story | 255X255
9th Story | 305X305
8th Story | 355X355
7th Story | 405X405
6th Story | 435X435
5th Story | 460X460
4th Story | 510X510
3th Story | 585X585
2th Story | 685X685
1th Story | 890X890
CLT Column | Cross section (mm)
11th Story | 200X200
10th Story | 205X205
9th Story | 255X255
8th Story | 305X305
7th Story | 355X355
6th Story | 405X405
5th Story | 460X460
4th Story | 480X480
3th Story | 535X535
2th Story | 635X635
1th Story | 840X840
RCC & CLT Column Design
3.5m
3.5m
3.5m
Table 1.8
Table 1.7
Learning Outcome Assessment III \ Final 05/25/2021
27
Figure 2.6

## Slide 28
Corner
RCC Column | Cross section (mm)
11th Story | 200X200
10th Story | 230X230
9th Story | 255X255
8th Story | 280X280
7th Story | 330X330
6th Story | 355X355
5th Story | 380X380
4th Story | 405X405
3th Story | 460X460
2th Story | 585X585
1th Story | 740X740
CLT Column | Cross section (mm)
11th Story | 180X180
10th Story | 200X200
9th Story | 225X225
8th Story | 250X250
7th Story | 305X305
6th Story | 355X355
5th Story | 380X380
4th Story | 425X425
3th Story | 460X460
2th Story | 530X530
1th Story | 680X680
RCC & CLT Column Design
Table 2.0
Table 1.9
Learning Outcome Assessment III \ Final 05/25/2021
28
3.5m
3.5m
Figure 2.7

## Slide 29
Retrieved From ACI
RCC & CLT Shear wall Design
Pu
4000 mm
16000 mm
Shear wall
305.64mm
Figure 2.8
Learning Outcome Assessment III \ Final 05/25/2021
29

## Slide 30
01
02
03
04
Slab
Beam
Column
Shear wall
Reinforcement Design
Learning Outcome Assessment III \ Final 05/25/2021
30

## Slide 31
9#19@100 mm C/C
9#19@100 mm C/C
1000 mm
200 mm
1000 mm
Retrieved from CSI detailing
Learning Outcome Assessment III \ Final 05/25/2021
31
Slab Reinforcement
Figure 2.9 Slab reinforcement
Figure 3.1
1000 mm
200 mm
Figure 3.0
9#19@100 mm C/C

## Slide 32
Retrieved from CSI detailing
Learning Outcome Assessment III \ Final 05/25/2021
32
Beam Reinforcement
280 mm
450 mm
beam reinforcement detail
Beam dimension (7m)
450mm x 280m
Area of Steel (From ETABS)
Top = 594 mm2/m 4#14
Bottom = 379 mm2/m 3#14
Top bars:
(4bars) (154mm2) = 616mm2 > 594mm2/m
Bottom:
(3bars) (154mm2) = 462mm2 > 379mm2/m
Provide10@100mm
Provide10@100 mm
Figure 3.2
Figure 3.3

## Slide 33
Learning Outcome Assessment III \ Final 05/25/2021
33
Column Reinforcement
Cover 50 mm
635mm
635mm
Area of steel required = 3724mm2
Column 635x635
Using #24 mm diameter:
Provide 12#24 ⇾ As = 3770.5mm2
3724
314.2
No of bars =
=11.85 ≈ 12 bars
As(req)
As (one bar)
=
Retrieved from CSI detailing
Figure 3.4
Figure 3.5

## Slide 34
Shear wall reinforcement
Retrieved from CSI detailing
Learning Outcome Assessment III \ Final 05/25/2021
34
Shear wall Reinforcement
Figure 3.6
Shear wall reinforcement for 1m
Pick 6#25 As = 3060mm2

## Slide 35
3D view of the structure
Deflection
Members Analysis
Software modeling
Learning Outcome Assessment III \ Final 05/25/2021
35

## Slide 36
3D RCC Structure modeling
Figure 3.7
Figure 3.8
Learning Outcome Assessment III \ Final 05/25/2021
36

## Slide 37
RCC Slab Deflection
Figure 3.9
Slab Deflection after applying the highest load
3.096mm < 25mm
ACI
Passed
Learning Outcome Assessment III \ Final 05/25/2021
37

## Slide 38
Seismic Load Deflection
For RCC
Learning Outcome Assessment III \ Final 05/25/2021
38
Figure 4.0

## Slide 39
3D CLT Structure modeling
Figure 4.1
Learning Outcome Assessment III \ Final 05/25/2021
39

## Slide 40
CLT Slab Deflection
Figure 4.2
Slab Deflection after applying the highest load
3.304mm
Learning Outcome Assessment III \ Final 05/25/2021
40

## Slide 41
Seismic Load Deflection
For CLT
Learning Outcome Assessment III \ Final 05/25/2021
41
Figure 4.3

## Slide 42
01
Obtained soil profile
02
chemical analysis
03
Backfilled Soil Profile
04
Alternative Design
05
Raft foundation with piles
06
Raft foundation Reinforcement
Geotechnical
&
foundation system design
Learning Outcome Assessment III \ Final 05/25/2021
42

## Slide 43
Chemical Analysis of Soil Samples |  |  | 
Depth |  | Average | 
From | To | Sulfate % | Chloride %
0.0 | 6.0 | 0.40 – 0.52 | 0.21 – 0.33
6.0 | 11.0 | 0.34 – 0.38 | 0.30 – 0.36
11.0 | 20.0 | 0.43 – 0.48 | 0.18 – 0.34
Medium to High Sulfate And Chloride Content
Table 2.1
Soil profile, retrieved from PMU football stadium project ( 2019)
Water Table
Learning Outcome Assessment III \ Final 05/25/2021
43
Soil profile & chemical analysis
High Water Table
Figure 4.4

## Slide 44
Backfilled soil profile
The Backfill Soil Layer
Learning Outcome Assessment III \ Final 05/25/2021
44
Complete change of the top layer)
Figure 4.5

## Slide 45
Dewatering System
Temporary Dewatering
Permanent Dewatering
Resource :klaudia.eu/wellpoint-systems/wellpoints(2017)
Resource :permagard(2019)
Learning Outcome Assessment III \ Final 05/25/2021
45
Figure 4.7
Figure 4.6

## Slide 46
Isolated shallow foundation
qu
the net allowable soil bearing capacity (kN/m2) |  | Bearing Capacity of the Soil (kN/m2)
1474.67 | < | Not ok
the net allowable soil bearing capacity (kN/m2) |  | Bearing Capacity of the Soil (kN/m2)
1474.67 | < | 
Learning Outcome Assessment III \ Final 05/25/2021
46

## Slide 47
Bedrock, Metaphoric
Raft (Mat) Foundation
Learning Outcome Assessment III \ Final 05/25/2021
47
Figure 4.8
1m

## Slide 48
Soil pressure under each column
Allowable soil pressure
𝒒𝒖=𝒄 𝑵𝒄𝑭𝒄𝒔𝑭𝒄𝒅𝑭𝒄𝒊+𝒒 𝑵𝒒𝑭𝒒𝒔𝑭𝒒𝒅𝑭𝒒𝒊 + 𝟏/𝟐 𝑩𝜸𝑵𝜸𝑭𝜸𝒔𝑭𝜸𝒅𝑭𝜸𝒊
Point Soil Pressure Under Each Column
Critical Soil Point Pressure (kN/m2) |  | The bearing capacity of the soil (kPa)
 | < | 
Critical Soil Point Pressure (kN/m2) |  | The bearing capacity of the soil (kPa)
 | < | 
Learning Outcome Assessment III \ Final 05/25/2021
48

## Slide 49
Calculated settlement (mm) |  | Allowable settlement (mm)
5.59 | < | 60
Settlement for Foundation
Settlement calculation (RCC)
Learning Outcome Assessment III \ Final 05/25/2021
49
Figure 4.9

## Slide 50
Where:
Where
Diameter = 0.3m
Length = 21
Raft (mat Foundation)
  Raft foundation with piles
Learning Outcome Assessment III \ Final 05/25/2021
50
)
(
*
'
*
q
c
p
p
p
p
N
q
CN
A
q
A
Q
+
=
=
Figure 5.0

## Slide 51
  Raft Foundation Reinforcement
Learning Outcome Assessment III \ Final 05/25/2021
51
Figure 5.1
Soil Reaction =

## Slide 52
Modified critical strip point loads
Raft foundation reinforcement
Spacing | Diameter (mm) | Spacing (mm) c/c | As provided (mm^2/m)
Top | 36 | 100 | 16096
Bottom | 36 | 100 | 16096
Learning Outcome Assessment III \ Final 05/25/2021
52
Figure 5.2

## Slide 53
Constraint(s) |  | Solution
Geotechnical | High water table; 0.9 m | Temporary Dewatering during construction
 |  | Permanent drainage system to protect foundations
Material | High Sulfate Content in Soil High Chloride Content in Soil | Type V; Sulfate Resistant Portland cement For Concrete Protection
 | contaminated water | Transporting the contaminated water to the right disposal place
 | Contaminated soil | Dispose the contaminated soil into hazardous landfill Complete exchange of top soil
Structural | Deflection limits and drift | Consider all possible load combination cases, to ensure the safety and stability of the building.
 | Load combination cases | 
Cost | Minimizing overhead cost of project | Applying standards and codes.
Learning Outcome Assessment III \ Final 05/25/2021
53
Environmental

## Slide 54
Cost Estimation For RCC Structure |  |  |  |  | 
No. | Materials | Volume(m3) | Unit Price (SR/m3) | Tonnage (MT) | Cost (Sar)
1 | Concrete | 18170 | 185 |  | 3361450
2 | Reinforcement |  | 2600 | 2544 | 6613880
3 | Finishing | 60% of Total cost |  |  | 7329778
Total Project Cost = 17,305,108 Sar |  |  |  |  | 
Cost Estimation
Learning Outcome Assessment III \ Final 05/25/2021
54
Prices Provided by Al Kifah contracting company(2021).
Table 2.2

## Slide 55
Cost Estimation of CLT Structure |  |  |  |  | 
No. | Materials | Volume(m3) | Unit Price (SR/m3) | Tonnage (MT) | Cost (Sar)
1 | Concrete | 11830 | 185 |  | 2188550
2 | Reinforcement |  | 2600 | 1656.2 | 4306120
3 | Finishing |  |  |  | 12702402
4 | CLT Slab | 15455 | 1200 |  | 18546000
Total Project Cost = 37,743,072 Sar |  |  |  |  | 
Cost Estimation
Learning Outcome Assessment III \ Final 05/25/2021
55
PMU LIBRARY ( SENIOR PROJECT,2018 ).
Table 2.3

## Slide 56
RCC VS CLT
Water
Time
Foundation
Environment
CLT
CLT is a natural and a carbon Storage product.
CLT requires no Water.
CLT multi-story building takes an average of 7 days per story.
RCC
Extremely Slow process.
concrete required more water .
RCC Fire Proof
RCC is by far the greatest C02 emitter as an industrial material.
CLT is five times lighter than Concrete.
Concrete is a heavy product.
Seismic
CLT Can meet or exceed the most demanding
earthquake and seismic design requirements
TO achieve the Same seismic of CLT a concrete bearing wall calls for about 30% Wider section.
cost
RCC is more economical than the CLT
CLT is more expensive than RCC
Onsite Waste
Fire Performance
CLT Fire Resistant
On site Concrete generate more waste
Less waste occurs during construction process.
Learning Outcome Assessment III \ Final 05/25/2021
56

## Slide 57
Learning Outcome Assessment III \ Final 05/25/2021
57

## Slide 58
v
Google Map
References
Learning Outcome Assessment III \ Final 05/25/2021
58

## Slide 59
WELCOME
T
H
A
N
K
Y
OU
Learning Outcome Assessment III \ Final 05/25/2021
59