## Slide 1
Engr. Danish Ahmed
Dr. Tahar Ayadat
Dr. Andi Asiz
Advisors:
Coordinator:
Students Names & ID’s:
Commercial and Residential Triple Towers
Structural & Geotechnical Design of RCC
Tarek Chami, 201503124
Habib Aldokmak, 201503106
Rami Choker, 201503128
Youssef Moussa, 201600217
Learning outcome assessment III

## Slide 2
Learning Outcome Assessment 3
2
Final
Project Objectives
Project Description
Structural Design
Geotechnical and Foundation System Design
Project Constraints
Work Distribution
Outline

## Slide 3
Objectives
1
Modeling of the structures
4
Cost Estimation
3
Geotechnical Design of the Substructure
2
Structural Design
Learning Outcome Assessment 3
3
Final

## Slide 4
Project Description
1
Location of the project
3
Project Layout
2
General description
Learning Outcome Assessment 3
4
Final

## Slide 5
Location
Saudi Arabia, Eastern Province
Al-Khobar, between King Fahd and King Saud roads
King Fahd Road
King Saud Road
Learning Outcome Assessment 3
5
Final

## Slide 6
Project Reference
Original Project
Twin Tower (60-storey)
Learning Outcome Assessment 3
6
Final
1
Between Dammam & Al-Khobar
2
Commercial and Residential
3
Abdulaziz Group project

## Slide 7
General Description
Learning Outcome Assessment 3
7
Final
Number of towers: 3
Number of stories in each tower: 30
Typical Floor area: 2400m2
Top floor area:14400m2
Cumulative area: 229600m2
Cantilever area: 1200m2
Connection area: 2400m2

## Slide 8
Learning Outcome Assessment 3
8
Final
Stories Cluster
Hotel and decks (patio on roof)
Mall and Brands
Parking
Commercial
Mechanical Floor
Residential
Residential
Cluster 1
Cluster 2
Cluster 3
Cluster 4
Cluster 5
Cluster 6

## Slide 9
Original Layout 1
Learning Outcome Assessment 3
9
Final
Abdulaziz group project Layout 1

## Slide 10
Learning Outcome Assessment 3
10
Final
Basement
Basement Layout
B1_B3

## Slide 11
Learning Outcome Assessment 3
11
Final
Basement Layout
Floor: B1_B3
Area = 12,000 m2
200 m
60 m

## Slide 12
Learning Outcome Assessment 3
12
Final
Storey
F1_F25
Storey Layout

## Slide 13
Learning Outcome Assessment 3
13
Final
Storey Layout
Floor: 1_25
Area = 2,400 m2
Area = 3 X 2,400 m2 = 7,200 m2
60 m
40 m
40 m
40 m

## Slide 14
Learning Outcome Assessment 3
14
Final
Top Storey
Top Storey Layout
F26_27

## Slide 15
Learning Outcome Assessment 3
15
Final
Top Storey Layout
Floor: 26_27
Area = 14,400 m2
2 X 14,400 = 2800 m2
240 m
60 m
20 m
40 m
40 m
20 m
40 m
40 m
40 m

## Slide 16
Structural Design
Learning Outcome Assessment 3
16
Final
Methodology
Structure breakdown
Structure loads
Concrete structure elements design
Steel structure elements design
Etabs Modeling

## Slide 17
Learning Outcome Assessment 3
17
Final
Methodology
Floors’ Clusters
Saudi Building Code
Preliminary Design
Final Design
ETABS Modeling
Notes: Referring to our story division, pick up the codes from SBC
Preliminary design for the structural members
Modeling and analyzing using ETABS

## Slide 18
Learning Outcome Assessment 3
18
Final
Design loads
Wind Load
Seismic load
Combination load
Structural Loads

## Slide 19
Learning Outcome Assessment 3
19
Final
Name | Density () | Thickness (mm) | Load ()
Ceramic Tile | 23.5 | 11 | 0.26
Mortar | 20.5 | 26 | 0.54
Plaster | 13.9 | 18 | 0.25
Suspended Metal lath and Cement Plaster | _ | _ | 0.75
Mechanical Duct Allowance | _ | _ | 0.2
Total |  |  | 2
Name |  | Thickness (mm) | 
Ceramic Tile | 23.5 | 11 | 0.26
Mortar | 20.5 | 26 | 0.54
Plaster | 13.9 | 18 | 0.25
Suspended Metal lath and Cement Plaster | _ | _ | 0.75
Mechanical Duct Allowance | _ | _ | 0.2
Total |  |  | 2
According to ACI, SBC and Rak for tiles the book Ceramics 2020
The TOTAL dead load on the floors is
2 ()
Finishing’s Dead Load

## Slide 20
Structural Loads
Learning Outcome Assessment 3
20
Final
Cluster Division | Dead Load | Live Load
Parking | 2 | 10
Mall and Brands | 2 | 5
Offices | 2 | 2.5
Mechanical Floor | 2 | 10
Studio and Super deluxe apartments | 2 | 2
Hotel and decks( patio and roof) | 2 | 5
Cluster Division |  | 
Parking | 2 | 10
Mall and Brands | 2 | 5
Offices | 2 | 2.5
Mechanical Floor | 2 | 10
Studio and Super deluxe apartments | 2 | 2
Hotel and decks( patio and roof) | 2 | 5
Saudi Building Code

## Slide 21
Learning Outcome Assessment 3
21
Final
ASCE,
Saudi Building Code

## Slide 22
Learning Outcome Assessment 3
22
Final
ASCE,
Saudi Building Code

## Slide 23
Combination Loads
Learning Outcome Assessment 3
23
Final
Type | Combination | Reference
Dead and Live Load | 1.2(DL) + 1.6(LL) | ASCE & Saudi Building Code
Dead and Wind Load | 0.9(DL) + 1(WL) | 
Dead and Seismic Load | 1(DL) + 1(EL) | 

## Slide 24
Concrete Structure Elements Design
Learning Outcome Assessment 3
24
Final
Slab Design
Beam Design
Columns Design

## Slide 25
Learning Outcome Assessment 3
25
Final
RCC Slab Design
5.55 m
5.98 m
20 cm
𝒇′𝒄 =10 ksi
𝒇𝒚 =60 ksi

## Slide 26
Learning Outcome Assessment 3
26
Final
RCC Beam Design
400 mm
600 mm
530 mm
Height h = 600 mm
Depth d = 530 mm
Width b = 400 mm
5.98 m
𝒇′𝒄 =10 ksi
𝒇𝒚 =60 ksi

## Slide 27
Learning Outcome Assessment 3
27
Final
550 mm
950 mm
880 mm
Height h = 950 mm
Depth d = 880 mm
Width b = 550 mm
11.96 m
RCC Beam Design
𝒇′𝒄 =10 ksi
𝒇𝒚 =60 ksi

## Slide 28
Learning Outcome Assessment 3
28
Final
800 mm
1150 mm
1080 mm
Height h = 1150 mm
Depth d = 1080 mm
Width b = 800 mm
15.65 m
RCC Beam Design
𝒇′𝒄 =10 ksi
𝒇𝒚 =60 ksi

## Slide 29
Learning Outcome Assessment 3
29
Final
Column Design
Slab
Beam
Column
Dead Load:
  Slab
  Beam
  Finishing
Live Load

## Slide 30
Learning Outcome Assessment 3
30
Final
Column Design
∅𝑷𝒏=Axial load acting on the element (in kN or kips).
∅ = Safety factor for a rectangular element ≈ 0.65 (unitless)
𝒓 = Safety factor for a rectangular column ≈ 0.80 (unitless)
𝒇′𝒄 =Compressive strength of the concrete (using 68 MPa)
𝒇𝒚 =yield strength of the steel (using 240 MPa)
𝑨𝒈 =Gross area of the concrete element.
𝑨𝒔𝒕 =Area of steel required
a

## Slide 31
Learning Outcome Assessment 3
31
Final
Column Design
Column | Cross section size (cm X cm)
Group 1 | 46X46
Group 2 | 59X59
Group 3 | 70X70
Group 4 | 81X81
Group 5 | 92X92
Group 6 | 101X101

## Slide 32
Learning Outcome Assessment 3
32
Final
Column Design
Column | Cross section size (cm X cm)
Group 1 | 65X65
Group 2 | 75X75
Group 3 | 85X85
Group 4 | 94X94
Group 5 | 103X103
Group 6 | 112X112

## Slide 33
Learning Outcome Assessment 3
33
Final
Shear Wall Design
∅𝑷𝒏=Axial load acting on the element (in kN or kips).
∅ = Safety factor for a rectangular element ≈ 0.65 (unitless)
𝒓 = Safety factor for a rectangular column ≈ 0.80 (unitless)
𝒇′𝒄 =Compressive strength of the concrete (using 68 MPa)
𝒇𝒚 =yield strength of the steel (using 240 MPa)
𝑨𝒈 =Gross area of the concrete element.
𝑨𝒔𝒕 =Area of steel required

## Slide 34
Learning Outcome Assessment 3
34
Final
Shear Wall Design
19.3 m
x ??
4 m

## Slide 35
Learning Outcome Assessment 3
35
Final
Connection Girder
Girder Design
Column Design
Steel Structure Elements Design
Cantilever Girder
Sub-Beam

## Slide 36
Learning Outcome Assessment 3
36
Final
Connection Beam Design

## Slide 37
Learning Outcome Assessment 3
37
Final
Connection Beam Design
= 8@5m = 40m
Rectangular HSS
120 cm
90 cm
15 cm
15 cm
20 cm
20 cm
AISC
𝒇𝒚 =60 ksi

## Slide 38
Learning Outcome Assessment 3
38
Final
Cantilever Beam Design

## Slide 39
Learning Outcome Assessment 3
39
Final
Cantilever Beam Design
M
20m
5.55m
10.1m
DL & LL
Rectangular HSS
140 cm
100 cm
20 cm
20 cm
20 cm
20 cm
Structural analysis
𝒇𝒚 =60 ksi

## Slide 40
Learning Outcome Assessment 3
40
Final
Steel Beam Design
Girder
Sub Beam

## Slide 41
Learning Outcome Assessment 3
41
Final
Steel Sub Beam Design
26.7 in
10 in
0.64 in
0.46 in
𝒇𝒚 =60 ksi

## Slide 42
Learning Outcome Assessment 3
42
Final
Steel Girder Design
43.6 in
15.8 in
1.58 in
0.865 in
AISC
𝒇𝒚 =60 ksi

## Slide 43
Learning Outcome Assessment 3
43
Final
Steel Column Design Example
20.2 in
17.3 in
3.83 in
2.38 in
13.1 ft.
AISC
𝒇𝒚 =60 ksi

## Slide 44
Learning Outcome Assessment 3
44
Final
Column Design
Column | Picked Section
Group 1 | 
Group 2 | 
Group 3 | 
Group 4 | 
Group 5 | 
Group 6 | 
Column | Picked Section
Group 1 | 
Group 2 | 
Group 3 | 
Group 4 | 
Group 5 | 
Group 6 | 

## Slide 45
Learning Outcome Assessment 3
45
Final
Column Design
Column | Picked Section
Group 1 | 
Group 2 | 
Group 3 | 
Group 4 | 
Group 5 | 
Group 6 | 
Column | Picked Section
Group 1 | 
Group 2 | 
Group 3 | 
Group 4 | 
Group 5 | 
Group 6 | 

## Slide 46
Learning Outcome Assessment 3
46
Final
Etabs modeling

## Slide 47
Learning Outcome Assessment 3
47
Final
Etabs modeling
Slab Deflection after applying the highest load
5.768mm<25mm
ACI
Passed

## Slide 48
Learning Outcome Assessment 3
48
Final
Etabs modeling
Connection beam deflection
84.614<166mm
Passed

## Slide 49
Learning Outcome Assessment 3
49
Final
Etabs modeling

## Slide 50
Learning Outcome Assessment 3
50
Final
Etabs modeling

## Slide 51
Learning Outcome Assessment 3
51
Final
Wind Load Deflection
ASCE,
Saudi Building Code
41<240
Passed

## Slide 52
Learning Outcome Assessment 3
52
Final
Seismic Load Deflection
ASCE,
Saudi Building Code
75<240
Passed

## Slide 53
Learning Outcome Assessment 3
53
Final
Etabs modeling
Period
T
T
T < Tallowable
ASCE,
Saudi Building Code

## Slide 54
Learning Outcome Assessment 3
54
Final
Beam Deflection
Cantilever Beam deflection
240>133mm
Failed

## Slide 55
Learning Outcome Assessment 3
55
Final
Cantilever Beam deflection
94<133mm
Passed
Beam Deflection

## Slide 56
Learning Outcome Assessment 3
56
Final
M max = 452543.4 N. mm
B=5980mm
d = 180mm
k =
k =
𝛒 = 0.0068
As= 𝛒bd =
 So, 9#32 bars will be enough to reinforce the main structure’s slab.
Slab Reinforcement
S max
S min= 25 mm minimum spacing from SBC
So, 9#32 @ 300 mm

## Slide 57
Learning Outcome Assessment 3
57
Final
5.55 m
5.98 m
9#32 @ 300 mm 𝑐⁄𝑐
18 cm
20 cm
2 cm
9#32 @ 300 mm 𝑐⁄𝑐
9#32 @ 300 mm 𝑐⁄𝑐
5.98 m
20 cm
Slab Reinforcement

## Slide 58
Learning Outcome Assessment 3
58
Final
15.65m Beam:
M = 1470564998 N-mm
b = 650 mm
h= 1150mm
d= 1150 – 70 = 1080 mm 𝑑/𝑏=1.6 1.5 < 1.6 < 2.2 check ok!
k = 1470564994/(0.9×650×1080^2 ) =2.155 ⇒𝛒 = 0.0054
As = 𝛒bd = 3790.8 〖𝑚𝑚〗^2
Beam Reinforcement
Pick 6#29 ⇒ As = 3870mm2 3870>3790.8 ok!
d actual= h – (cover + dst + 𝑑𝑠/2 )
= 1150 – (30 + 10 + 29/2 )
= 1095 > 1080 ok!
Provide #10 @ 150mm stirrups c/c

## Slide 59
Learning Outcome Assessment 3
59
Final
1150 mm
650 mm
3#29
3#29
#10 @ 150mm stirrups c/c
Beam Reinforcement

## Slide 60
Learning Outcome Assessment 3
60
Final
Ag= 800mm X 800mm = 640000mm2
As = (0.01 to 0.08)Ag
As = 0.01 Ag
=6400mm2
# of Bars = (𝐴_𝑠 (𝑟𝑒𝑞))/(𝐴_𝑠 (𝑜𝑛𝑒 𝑏𝑎𝑟))
Choose #29 for one bar
𝜋/4 29^2=661 〖𝑚𝑚〗^2
# of Bars = 6400/661=9.68 𝑏𝑎𝑟𝑠 ≈10 𝑏𝑎𝑟𝑠
Column with Cross Section 0.8m X 0.8m
So, pick 10#29 ⇒ As = 6450 mm2
⇒6450>6400 checking ok!
Lateral ties reinforcement:
Provide #10 mm ties @ 240 mm c/c

## Slide 61
Learning Outcome Assessment 3
61
Final
10#29 mm bars
30 mm
800 mm
800 mm
#10 mm ties @ 240 mm c/c
Column with Cross Section 0.8m X 0.8m

## Slide 62
Learning Outcome Assessment 3
62
Final
Ag= 19300mm X 200mm = 3860000mm2
As = (0.01 to 0.08) Ag
As = 0.01 Ag
=38600mm2
# of Bars = (𝐴_𝑠 (𝑟𝑒𝑞))/(𝐴_𝑠 (𝑜𝑛𝑒 𝑏𝑎𝑟))
Choose #32 for one bar
𝜋/4 32^2=804 〖𝑚𝑚〗^2
# of Bars = 38600/804=48.6 𝑏𝑎𝑟𝑠 ≈49 𝑏𝑎𝑟𝑠
Shear Wall Reinforcement
So, pick 49#32 ⇒ As = 39396 mm2
⇒39396>38600 checking ok!
Lateral ties reinforcement:
Provide #10 mm ties @ 240 mm c/c

## Slide 63
Learning Outcome Assessment 3
63
Final
49#32 mm bars
19.3 m
2 m
#10 mm ties @ 240 mm c/c
Shear Wall Reinforcement

## Slide 64
Learning Outcome Assessment 3
64
Final
Final Design
Final Design of Concrete Columns |  |  | 
Internal Columns |  |  | 
Columns No | Size (mm) | Longitudinal Reinforcement | Lateral Ties
1 | 800 X 800 | 10 # 29 | #10 mm @250mm c/c
2 | 820 X 820 | 12 # 29 | #10 mm @250mm c/c
3 | 850 X 850 | 12 # 29 | #10 mm @250mm c/c
4 | 900 X 900 | 14 # 29 | #10 mm @250mm c/c
5 | 970 X 970 | 16 # 29 | #10 mm @250mm c/c
6 | 1050 X 1050 | 18 # 29 | #10 mm @250mm c/c
Parking | 800 X 800 | 10 # 29 | #10 mm @250mm c/c
Final Design of Concrete Columns |  |  | 
External Columns |  |  | 
Columns No | Size (mm) | Longitudinal Reinforcement | Lateral Ties
1 | 1600 X 1600 | 18 # 43 | #10 mm @250mm c/c
2 | 1650 X 1650 | 20 # 43 | #10 mm @250mm c/c
3 | 1700 X 1700 | 20 # 43 | #10 mm @250mm c/c
4 | 1720 X 1720 | 22 # 43 | #10 mm @250mm c/c
5 | 1750 X 1750 | 22 # 43 | #10 mm @250mm c/c
6 | 1800 X 1800 | 24 # 43 | #10 mm @250mm c/c

## Slide 65
Learning Outcome Assessment 3
65
Final
Geotechnical and foundation system design
Soil profile
  Soil profile
  Backfilled soil profile
Recommendations of the foundation design
  Raft (Matt) foundation with drainage system
  Raft foundation with piles

## Slide 66
Learning Outcome Assessment 3
66
Final
Soil Profile
Hard Clay
Medium to very dense sand
Calcareous sand
Very loose to medium sand
Lean Clay
Water Table
5m
6m
15m
0.9m
1.5m

## Slide 67
Learning Outcome Assessment 3
67
Final
Backfilled soil profile
Hard Clay
Medium to very dense sand
Calcareous sand
6m
15m
5m
0.61m
Water Table
Backfill Soil Granular
Completely changing of the top layer (loose sand) with a new material (denser granular soil)

## Slide 68
Learning Outcome Assessment 3
68
Final
Dewatering System
Temporary Dewatering
Permanent Dewatering

## Slide 69
Learning Outcome Assessment 3
69
Final
Foundation Design
(concrete part)
𝑼= 𝒃𝒐𝒅 [ 𝝓 (𝟎.𝟑𝟒)√𝒇′𝒄 ]
The thickness of the Mat foundation:
d = 1.87 m ≈ 2 m
6m
15m
5m
0.6m
Water Table
Matt (Raft) Foundation
2m

## Slide 70
Learning Outcome Assessment 3
70
Final
Point Soil Pressure Under Each Column
Soil pressure under each column
Allowable soil pressure
𝒒𝒖=𝒄 𝑵𝒄𝑭𝒄𝒔𝑭𝒄𝒅𝑭𝒄𝒊+𝒒 𝑵𝒒𝑭𝒒𝒔𝑭𝒒𝒅𝑭𝒒𝒊 + 𝟏𝟐 𝑩𝜸𝑵𝜸𝑭𝜸𝒔𝑭𝜸𝒅𝑭𝜸𝒊
Critical Point Pressure (kN/m2) |  | Bearing Capacity of the Soil (kN/m2)
874.456 | < | 6666.43

## Slide 71
Learning Outcome Assessment 3
71
Final
Foundation Design
Calculated settlement (mm) |  | Allowable settlement (mm)
883 | > | 40-65

## Slide 72
Learning Outcome Assessment 3
72
Final
Design of the piles
For sand
For clay
where
Qallowable (pile) = 4,028 kN
6m
15m
5m
0.6m
2m
Water Table
Matt (Raft) Foundation

## Slide 73
Learning Outcome Assessment 3
73
Final
Design of the piles
total number of piles = 484 x 3 = 1452 piles
Checking:
(Qallowable (pile)) x (number of piles)
= 1,949,552 kN > applied load on foundation.
number of piles = = 484 piles
6m
15m
5m
0.6m
2m
Water Table
Matt (Raft) Foundation

## Slide 74
Learning Outcome Assessment 3
74
Final
Raft foundation Reinforcement
Spacing | Diameter (mm) | Spacing (mm) c/c | As provided (mm^2/m)
Top | 57 | 80 | 30,930
Bottom | 57 | 80 | 30,930
12#57 @80 mm C/C
12#57 @80 mm C/C
12#57 @80 mm C/C
12#57 @80 mm C/C
2 m
Notes: Picture needed to be changed

## Slide 75
Learning Outcome Assessment 3
75
Final
Foundation Design
(steel part)
𝑼= 𝒃𝒐𝒅 [ 𝝓 (𝟎.𝟑𝟒)√𝒇′𝒄 ]
The thickness of the Mat foundation:
d = 1.22 m ≈ 1.5 m
6m
15m
5m
0.6m
Water Table
Matt (Raft) Foundation
1.5m

## Slide 76
Learning Outcome Assessment 3
76
Final
Point Soil Pressure Under Each Column
Soil pressure under each column
Allowable soil pressure
𝒒𝒖=𝒄 𝑵𝒄𝑭𝒄𝒔𝑭𝒄𝒅𝑭𝒄𝒊+𝒒 𝑵𝒒𝑭𝒒𝒔𝑭𝒒𝒅𝑭𝒒𝒊 + 𝟏𝟐 𝑩𝜸𝑵𝜸𝑭𝜸𝒔𝑭𝜸𝒅𝑭𝜸𝒊
Critical Point Pressure (kN/m2) |  | Bearing Capacity of the Soil (kN/m2)
607.30 | < | 6666.43

## Slide 77
Learning Outcome Assessment 3
77
Final
Foundation Design
Calculated settlement (mm) |  | Allowable settlement (mm)
621 | > | 40-65

## Slide 78
Learning Outcome Assessment 3
78
Final
Design of the piles
For sand
For clay
where
Qallowable (pile) = 4,028 kN
6m
15m
5m
0.6m
1.5m
Water Table
Matt (Raft) Foundation

## Slide 79
Learning Outcome Assessment 3
79
Final
Design of the piles
total number of piles = 334 x 3 = 1002 piles
Checking:
(Qallowable (pile)) x (number of piles)
= 1,345,352 kN > applied load on foundation.
number of piles = = 334 piles
6m
15m
5m
0.6m
1.5m
Water Table
Matt (Raft) Foundation

## Slide 80
Learning Outcome Assessment 3
80
Final
Raft foundation Reinforcement
Spacing | Diameter (mm) | Spacing (mm) c/c | As provided (mm^2/m)
Top | 57 | 80 | 40,740
Bottom | 57 | 80 | 40,740
16#57 @80 mm C/C
16#57 @80 mm C/C
16#57 @80 mm C/C
16#57 @80 mm C/C
1.5 m
Notes: Picture needed to be changed

## Slide 81
Learning Outcome Assessment 3
81
Final
Cost of Concrete Structure
The following steps are followed to calculate the total cost of the concrete structure:
Volume of RC Columns
Volume of RC beams
Volume Slabs
Volume of Foundation
cost of piles
Weight of Steel reinforcement
Total volume cost per cubic meter
Total steel weight cost per unit ton
Cost of finishing
Final Estimation

## Slide 82
Prices provided by Saeed Ali Al-Qahtani Sons Readymix Concrete Factory LTD 20
Learning Outcome Assessment 3
82
Final
Cost of Concrete Structure
𝑪𝒐𝒔𝒕 𝑬𝒔𝒕𝒊𝒎𝒂𝒕𝒊𝒐𝒏 𝒐𝒇 𝑪𝒐𝒏𝒄𝒓𝒆𝒕𝒆 |  |  |  | 
No | 𝑬𝒍𝒆𝒎𝒆𝒏𝒕 | Volume (m3) | Unit Price (SAR/m3) | 𝑪𝒐𝒔𝒕 (𝑺𝑨𝑹)
1 | Slabs | 48,960 | 180 | 8,812,980
2 | Beams | 30,317 | 180 | 5,457,060
3 | Columns | 10,311 | 180 | 1,855,980
4 | Shear Wall | 4,708 | 180 | 847,440
5 | Raft Foundation | 2,400 | 180 | 432,000
6 | Piles | 20,516 | 180 | 3,693,016.8
7 | Total Cost |  |  | 21,098,477

## Slide 83
Learning Outcome Assessment 3
83
Final
Cost of Reinforcement
Using ratio of 140 kg/m3 to determine weight of reinforcement
Reinforcement weight = Total volume of concrete * Ratio
Cost Estimation of Reinforcements |  |  |  |  |  | 
No | 𝑬𝒍𝒆𝒎𝒆𝒏𝒕 | Volume (m3) | Estimation Ratio (Kg/m3) | Tonnage (MT) | Unit Price (SAR/MT Ton) | 𝑪𝒐𝒔𝒕 (𝑺𝑨𝑹)
1 | Total | 96,696 | 140 | 13,537 | 2,200 | 29,781,400
Total Cost |  |  |  |  |  | 29,781,400
Quotation provided by Bawan Metal industries Co.

## Slide 84
Quotation provided by Zamil Structural Steel Fabrication and Manufacturing 23
Learning Outcome Assessment 3
84
Final
Cost estimation of cantilever beam and connection beam
Steel Cantilever and Connection Beams |  |  |  |  | 
Elements | Weight of one member (kg) | Total weight (kg) | Total weight (MT) | Unit Price (SAR/MT) | Cost (SAR
HSS Cantilever | 2,390.01 | 114,720.48 | 114.72 | 9000 | 1,032,480
HSS Connection | 3,836.04 | 184,129.92 | 184.13 | 9000 | 1,657,170
Total Cost (SAR) |  |  |  |  | 2,689,650

## Slide 85
Learning Outcome Assessment 3
85
Final
Total Project Cost
Total Cost = Cost Estimation of Concrete + Cost Estimation of Reinforcements + Steel cantilever and connection beams
Total Cost = 21,098,477 + 29,781,400 + 2,689,650 = 53,569,527 SAR + finishing
Where finishing is 30% of the total project ( Referring to Mohamad Chehadi Project)
Total cost = 53,569,527 + 16,070,858 = 69,640,385 SAR

## Slide 86
Learning Outcome Assessment 3
86
Final
Cost of Steel Structure
The following steps are followed to calculate the total cost of the steel structure:
Weight of Steel beam sections
Weight of Steel Columns sections
Weight of steel connection and cantilever beams
Volume of RC slabs
Volume of Foundation
Cost of piles
Total steel weight cost per unit ton
Total volume cost per cubic meter
Final Estimation

## Slide 87
Cost of Concrete in steel structure
Learning Outcome Assessment 3
87
Final
𝑪𝒐𝒔𝒕 𝑬𝒔𝒕𝒊𝒎𝒂𝒕𝒊𝒐𝒏 𝒐𝒇 𝑪𝒐𝒏𝒄𝒓𝒆𝒕𝒆 |  |  |  | 
No | 𝑬𝒍𝒆𝒎𝒆𝒏𝒕 | Volume (m3) | Unit Price (SAR/m3) | 𝑪𝒐𝒔𝒕 (𝑺𝑨𝑹)
1 | Slabs | 48,960 | 180 | 8,812,980
2 | Shear Wall | 4,708 | 180 | 847,440
3 | Raft Foundation | 2,400 | 180 | 432,000
4 | Piles | 20,516.76 | 180 | 3,693,016.8
5 | Total Cost |  |  | 13,785,436.8
Prices provided by Saeed Ali Al-Qahtani Sons Readymix Concrete Factory LTD

## Slide 88
Cost of Reinforcement
Learning Outcome Assessment 3
88
Final
Estimation of reinforcement in steel structure
Quotation provided by Bawan Metal industries Co.
Cost Estimation of Reinforcements |  |  |  |  |  | 
No | 𝑬𝒍𝒆𝒎𝒆𝒏𝒕 | Volume (m3) | Estimation Ratio (Kg/m3) | Tonnage (MT) | Unit Price (SAR/MT Ton) | 𝑪𝒐𝒔𝒕 (𝑺𝑨𝑹)
1 | Total | 56,068 | 140 | 7,850 | 2,200 | 17,270,000
Total Cost |  |  |  |  |  | 17,270,000

## Slide 89
Total Project Cost
Learning Outcome Assessment 3
89
Final
The estimated total cost of the Reinforced Concrete structure, with only the aforementioned criteria is:
Total Cost = Structural Steel Section + Steel Cantilever and Connection Beams + Cost Estimation of Concrete + Cost Estimation of Reinforcements + finishing
Total Cost = 280,086,660 + 1,840,500 + 13,785,436.8 + 17,270,000 + 16,070,858 = 329,053,455 SAR

## Slide 90
Project Constraint
Learning Outcome Assessment 3
90
Final
Constraint | Solution
Cantilever deflection | Using Continuous beam
Cantilever beam torsion failure | Replacing W-section steel beam by rectangular HSS-section
Connection between steel beam and concrete column | fixing steel rod in the concrete with bolts on the top
Connection between steel beam and concrete beam | Changing the concrete beam by steel beams on the top storey
Lateral forces | Increase the stiffness of the structure by selecting the adequate dimensions of structural members
High water table | Backfilling or dewatering to decrease the ground water table

## Slide 91
Work Distribution
Learning Outcome Assessment 3
91
Final
Topics number | Topics | Names
1 | Preliminary Design | HABIB RAMI TAREK YOUSUF
2 | Modeling | HABIB TAREK
3 | Final Design & Reinforcement Details | HABIB
4 | Geotechnical Analysis and Foundation Design | HABIB RAMI
5 | Cost Estimation | HABIB RAMI
6 | Final Report | HABIB RAMI YOUSUF

## Slide 92
Learning Outcome Assessment 3
92
Final
Chart: 
Series1 | 100 | 100 | 100 | 100 | 100 | 100
Preliminary Design
Modeling
Final Design & Reinforcement Details
Cost Estimation
Final Report
Geotechnical Analysis and Foundation Design
100 %
100 %
100 %
100 %
100 %
100 %

## Slide 93
References
Learning Outcome Assessment 3
91
Final

## Slide 94
hank you
كرا
Learning Outcome Assessment 3
94
Final