## Slide 1
Effect of Dust on Solar PV System: Measurement & Modeling
Use a solar PV system to study effect of dust and other weather parameters on energy output and find an appropriate model.
Definition
Study other weather effects (temperature, humidity)
Find solutions to the problem of dust accumulation on the solar panel.
Future Work
Testing Results
Specifications
Product Architecture
Learn about solar energy and PV system design
Learn about Labview and use it to automate the PV system measurement
Accumulate experimental data and use it to derive a model for dust effect.
Publish the final results in conference or journal.
Objectives
Applications & Customers
Use real solar PV panels
Perform real measurement on outdoor PV system
Use sensors to measure weather parameters (temperature, humidity, wind speed …)
Accumulate measurements over a long period to get a better estimate of the weather effects
Use measurement and models to improve future system designs
Prediction of energy output from solar PV systems
Real Product
Team: Abdallah Rasheed, Mohammed sharaf, Ghazi Alqahtani
Supervisor: Dr. Chedly B. Yahya
Fall 2012-2013
Electrical Engineering Department
EEEN4311: Design Methodology
PV Panels, Sensors (Temp, Humidity)
Charge Control, Battery
Labview: data acquisition, Analysis
Load
Chart: Time
| 0.35416666666666669 | 0.375 | 0.39583333333333331 | 0.41666666666666669 | 0.4375 | 0.45833333333333331 | 0.47916666666666669 | 0.5 | 0.52083333333333337 | 0.54166666666666663 | 0.5625 | 0.58333333333333337 | 0.60416666666666663 | 0.625 | 0.64583333333333337 | 0.66666666666666663 | 0.6875
VOLTAGE | 18.05 | 17.97 | 17.85 | 17.53 | 17.3751 | 17.03 | 17.2527 | 17.1316 | 17.0508 | 16.9708 | 17.2568 | 17.1933 | 17.5741 | 17.4784 | 17.5585 | 17.3744 | 16.4863
POWER [W] | 7.4005 | 8.6256 | 12.138 | 13.8487 | 15.1163 | 17.03 | 17.9428 | 18.1595 | 18.4149 | 17.6496 | 17.4294 | 16.1617 | 12.8291 | 12.5845 | 9.4816 | 4.8648 | 1.154
CURRENT (A) | 0.41 | 0.48 | 0.68 | 0.79 | 0.87 | 1 | 1.04 | 1.06 | 1.08 | 1.04 | 1.01 | 0.94 | 0.73 | 0.72 | 0.54 | 0.28 | 0.07
Time | V | I | P
8:30 | 18.05 | 0.41 | 7.40
9:00 | 17.97 | 0.48 | 8.63
9:30 | 17.85 | 0.68 | 12.14
10:00 | 17.53 | 0.79 | 13.85
10:30 | 17.38 | 0.87 | 15.12
11:00 | 17.03 | 1.00 | 17.03
11:30 | 17.25 | 1.04 | 17.94
12:00 | 17.13 | 1.06 | 18.16
12:30 | 17.05 | 1.08 | 18.41
13:00 | 16.97 | 1.04 | 17.65
13:30 | 17.26 | 1.01 | 17.43
14:00 | 17.19 | 0.94 | 16.16
14:30 | 17.57 | 0.73 | 12.83
15:00 | 17.48 | 0.72 | 12.58
15:30 | 17.56 | 0.54 | 9.48
16:00 | 17.37 | 0.28 | 4.86
16:30 | 16.49 | 0.07 | 1.15