## Slide 1: Design and Manufacturing of desiccant disk for use in dehumidifiers and air conditioners
Group : #6
Khalil Ahmed* 201400545
Abdulkarim Alharbi 201401466
Saud Aljar 201402823
Mohammed Alraqtan 201400114
Abdulelah Alshehri 201200553
Project Advisor
Dr. Panos Sphicas
Project Co-Advisor
Dr. Mohammed Almahdi

## Slide 2: Outline
Objectives
Background & Motivation and relevance
Design Constraints Engineering Standards & Design specification
Conceptual Design, Calculations & fabrication
Experimental setup, Testing & Results
Conclusion & Feature Recommendation

## Slide 3: Objectives
1. Improve the instrumentation and data acquisition (newer and more thermocouples, installed fan anemometers, installed more RH sensors).
2. Design and build a direct and an indirect evaporative cooler. Test and compare the results from the two coolers.
3. Installed DC fans that can be powered by a 12V 15amp Battery.
4. Create inspection hatch and close leaks in the desiccant disk.
5. Test the system and acquire new improved data.
1

## Slide 4: Background & motivation and Relevance
2
Silica Gel
DHT11 Sensors

## Slide 5: Design & Specifications
Tachometer
10-100000 RPM
3
52 RPM
19 N.M
Fan
Anemometer

## Slide 6: Design & Specifications

## Slide 7: Design & Specifications
#No. of sensor | Place of sensor
Sensor 1 | Hot Air
Sensor 2 | Dry Air( outlet to evaporator )
Sensor 3 | Hot Wet Air
Sensor 4 | from room after evaporative cooler
1
2
3
4

## Slide 8: Design & Specifications
#No. of sensor | Place of sensor
Sensor 5 | Before evaporative cooler
Sensor 6 | After evaporative cooler
5
6
Humidity and Temperature Sensors on Arduino

## Slide 9
Constraints
Environments
Economical
Manufacturability
Safety
Sustainability
Geometrical constraints
Engineering standards

## Slide 10: Engineering Standards

## Slide 11: Conceptual Design, Calculations & fabrication
4

## Slide 12
Motor
Item | Type | Speed | Power | Efficiency
Motor | Car window motor for Chevrolet Caprice 1995 | The speed is 52 RPM | The motor should have the appropriate torque to rotate the desiccant wheel 19 N.M | The efficiency should be high to reduce the power consumption of the system.

## Slide 13: What we need: - Torque (Disk) = 9 Nm - RPM (Disk) = 0.08 rpm
Car window motor:
- Torque = 19 Nm
- RPM = 52 rpm
Using two aluminum
pulleys with
3:1 ratio
DC speed controller
1
2
3

## Slide 14
Evaporative Cooler
Evaporator 1
Direct

## Slide 15
Evaporator 2
indirect
Evaporative Cooler

## Slide 16
Overall

## Slide 17: Testing & Results
5

## Slide 18
Used Formulas
Speed of air calculation
F =0.5 C𝑑ρ𝑢2𝐴 Equation 1
Equation 2

## Slide 19
Testing & Results
#No. of sensor | Place of sensor
Sensor 1 | Hot Air
Sensor 2 | Dry Air( outlet to evaporator )
Sensor 3 | Hot Wet Air
Sensor 4 | from room after evaporative cooler
Sensor 5 | Before evaporative cooler
Sensor 6 | After evaporative cooler

## Slide 20: Conclusion& Recommendation
Make it a solar energy dependent
Changing the Silica gel from time to time
Find an alternative solution to measure Velocity
6

## Slide 21: Regards